## Slide 1: Early Detection of Malignant and Pre-malignant
DNA Image Cytometry
Jianying Li

## Slide 2: Outline
Nucleus DNA staining for early detection
Understand the data distribution nature
Expert Guided Data Cleaning and Reconstruction (ExGCRn)
Stretching the prediction modeling
Integrating extra domain information
Empower the patient
Moving toward the standardization

## Slide 3
Photomicrograph of moderately well differentiated OSCC showing large tumor nucleus
with multiple prominent nucleoli (blue arrow) and abnormal mitotic figure (black arrow)
DB Nandini and RV Subramanyam, 2011, Nuclear features in oral squamous
cell carcinoma: A computer-assisted microscopic study, V.15:2, 177-181,JOMFP

## Slide 4
Need fix here
Notes: Figure 1 DNA imaging data

## Slide 5: Kernel density estimation
Getting the estimated probability density function for unknown random variable
Where K(.) is the kernel normally
  Uniform
  Triangular
  Normal
  Etc.
Standard normal was used as the kernel
Smoothing approach
=

## Slide 9: A well fit mixture of distributions

## Slide 10: Challenge in the data analysis
Mixture of three cell populations
  Normal cell population (diploid)
  Mitotic cell population (4n)
  Carcinoma (aneuploidy cell)
Two non-informative cell populations take the main density
Signal is largely washed out/saturated
Extreme challenge with “OLK” samples

## Slide 14: Expert Guided Data Cleaning and Reconstruction (ExGCRn)
Expert input
  Param1: Threshold for aneuploidy D.I.
  Param2: Mean D.I. value for mitotic cell population
  Param3: Standard deviation for mitotic and aneuploidy cell populations
  Param4: Ratio of normal cell (both normal and mitotic) vs. aneuploidy when three populations observed
  Param5: Ratio of normal cell (both normal and mitotic) vs. aneuploidy when no aneuploidy population observed
  Param6: Ratio of normal cell vs. mitotic population when no aneuploidy population observed

## Slide 15: Expert Guided Data Cleaning and Reconstruction (ExGCRn) –cont.
Data reconstruction
  The reconstruction was handled according to the number of populations determined in the cleaning steps
  Step 1 If three populations were determined, a cap of “8” was applied for the D.I. values
  Step 2 Parameters either from the expert input or derived from the data itself were used
  Step 3 A heuristic cumulated density function was derived and used to guide the “random sampling” of the data points
  Step 4 The dataset was stretched/binned between [0, 8] on the D.I. axis.
  The density within each bin will be recorded as the measurement of that “variable”
  Any missing values were replaced with 0.00001

## Slide 16: Expert Guided Data Cleaning and Reconstruction (ExGCRn) –cont.
Stripping the normal population
  Step 1 Derive the probability density function with kernel density estimation smoothing
  Step 2 Determine the mode of the normal cell population
  Step 3
    (a) Use the data to the left side of the mode
    (b) Estimate the mean and standard deviation of the normal population
  Step 4 Remove the data point to the left the mode
  Step 5
    (a) Find the symmetric subset of the data on the right of the mode
    (b) Break the data on the right into equal n parts according to the KDE density
  Foreach interval
    Derive the theoretical number of data points
    Randomly select candidate data points to be filtered
    Recover missing data points due to rounding errors
  End of foreach loop
  Step 6 --> go back to step 1 and evaluate the stripping efficiency
  If the first left most mode is less than the threshold
    Redo step 2 – step 6
  Else
Finish stripping the normal population
Compute the mean and standard deviation from the stripped first population only
Store number of data points filtered

## Slide 17: Alleviate the impact from the “normal” cell population

## Slide 18: The left-most population

## Slide 19
1.02
1.79
3.25, 3.57, 3.99
1788
3.33
2.00
Notes: Figure 4 Data cleaning results from ExGCRn procedure

## Slide 20: Predicting the clinical outcome
Newly formulated dataset (ExGCRn)
Stretched statistical models
  Tested out models with various prediction power
  Optimized the parameter setting
  Evaluated model performance
Prediction results
Clinical outcome and further implementation
R -- Caret package used

## Slide 21
Get a few model explaining

## Slide 22: SVM – maximize the margin

## Slide 23
Roc curves..

## Slide 24
3.25, 3.57, 3.99
The artifact

## Slide 25
3.33
2.00

## Slide 26
1.02
1.79
3.25, 3.57, 3.99
1788

## Slide 27: Extra slides here and on

## Slide 29: Stripping a population from a mixture --from left to right
Dynamically identify the left-most peak
Estimate the summary statistics using half of the distribution
Stripping the data from the population
Sequentially stripping

## Slide 30: Moving toward the standardization
Accumulating the data in the database
Data-driven approach data analysis
Walking hand-in-hand with clinical doctor
Establishing the standard protocols

## Slide 31: Our goal
for Liu Yao's exfoliated cell project, you may show what you have done for Liu Yao's current paper, what you plan to do if we put many other parameters of exfoliated cells (DI value, cell size, ...) and potentially new parameters (DNA methylation, gene mutation...) into data analysis in the future. Also you may paint a picture of a complete service of oral exfoliated cells starting from samples collection, sample analysis, data acquisition, data analysis, recommendation of further lab analysis, recommendation of clinical follow-up and therapy, ... Our goal is the feed them a vision that we and they can work continuously for >10 years.

## Slide 32: Objectives
Understanding and unveiling the biological mechanism of oral squamous cell carcinoma
Leveraging nuclei stain imaging technology (Feulgen staining)
Extracting the determining digitized information
Developing data processing protocol
Building predicting model for detecting abnormal cell dividing – cancer diagnosis
Establishing the standard for oral cancer early diagnosis

## Slide 33
Raw dataDB

## Slide 35: Abnormal nucleus image (D.I. value)
Papanicolaou (Pap) smears and nucleus was stained with Feulgan stain

## Slide 36: Cell population distribution

## Slide 37: Summary statistics
Group | Mean1 | SD1 | Mean2 | SD2 | Mean3 | SD3
normal1 | 0.96 | 0.155 | 1.961 | 0.22 | 2.321 | NA
normal2 | 0.878 | 0.178 | 1.675 | 0.361 | 2.355 | NA
normal3 | 0.925 | 0.153 | 1.642 | 0.349 | NA | NA
normal4 | 1.001 | 0.088 | 1.878 | 0.237 | NA | NA
normal5 | 0.96 | 0.133 | 1.778 | 0.267 | 2.307 | 0.009
normal6 | 0.974 | 0.1 | 1.588 | 0.32 | NA | NA
normal7 | 0.888 | 0.182 | 1.407 | 0.278 | 2.391 | 0.046
normal8 | 0.963 | 0.155 | 1.71 | 0.256 | NA | NA
normal9 | 0.995 | 0.085 | 1.434 | 0.294 | NA | NA
OLK1 | 0.751 | 0.137 | 1.578 | 0.172 | 3.675 | NA
OLK2 | 0.959 | 0.117 | 1.718 | 0.368 | NA | NA
OLK3 | 0.94 | 0.14 | 1.938 | 0.19 | NA | NA
OLK4 | 0.992 | 0.074 | 1.66 | 0.172 | 3.2 | 0.261
OLK5 | 0.912 | 0.155 | 1.818 | 0.272 | 3.366 | 0.808
OLK6 | 0.949 | 0.138 | 1.798 | 0.315 | 2.332 | NA
OLK7 | 0.95 | 0.129 | 1.771 | 0.27 | NA | NA
OLK8 | 0.925 | 0.15 | 1.696 | 0.358 | 2.42 | 0.057
OLK9 | 0.898 | 0.172 | 1.54 | 0.391 | 2.483 | NA
OSCC1 | 0.979 | 0.096 | 1.959 | 0.278 | 2.41 | 0.289
OSCC2 | 0.911 | 0.128 | 1.604 | 0.193 | 3.185 | 0.734
OSCC3 | 0.88 | 0.14 | 1.564 | 0.327 | 2.393 | 0.127
OSCC4 | 0.989 | 0.147 | 1.848 | 0.179 | 2.613 | 0.442
OSCC5 | 0.991 | 0.091 | 1.596 | 0.123 | 2.772 | 0.396
OSCC6 | 0.955 | 0.955 | 1.855 | 0.299 | 2.441 | 0.233
OSCC7 | 0.983 | 0.099 | 1.579 | 0.148 | 3.2 | 0.265
OSCC8 | 0.871 | 0.211 | 1.402 | 0.121 | 2.743 | 0.263
OSCC9 | 0.884 | 0.104 | 1.694 | 0.225 | 2.605 | 0.238

## Slide 39: Two prediction model fitting
Data was randomly separated to training and testing (7:2)
Two models were tested
  NaïveBayes
  SVM
Prediction was applied on the testing data
And, the results

## Slide 41: One sample data

## Slide 42: Our first trial – step one
Three basic clusters of cell populations
  D.I. value: 0.9 – 1.249
  D.I. value: 1.250 – 2.299
  D.I. value: > 2.300
Assuming equal C.V. across three populations, and estimated from “normal sample”:
Three means: 1.001, 2.002, 3.003

## Slide 45: Our hurdle
Too much information from “normal” cluster
Possible to detect the “mitotic” stage
Impossible to detect “aneuploidy” stage
Need to strip out the “normal” information first, but how?
  Don’t know
  Don’t know
  Don’t know

## Slide 46: On-going effort and future goal
Get sufficient summary statistics from ten of thousands cells (i.e. D.I. values)
Evaluating the summary statistics
  Reflect the mixture of distribution
  Robust enough (enough information) to differentiation cell population
  Capture cell population characteristics
Building the prediction model
  Assess model performance
  Provide accurate diagnosis guidance
  Constantly improve the model

## Slide 47
Raw dataDB

## Slide 51: Two prediction model fitting
Data was randomly separated to training and testing (7:2)
Two models were tested
  NaïveBayes
  SVM
Prediction was applied on the testing data
And, the results

## Slide 52: The challenges/objectives
To alleviate the impact from the “normal” cell population
Even, the replication cell population
To get the sufficient summarization of the data
To pruning the predication model(s)

## Slide 56: Alleviate the impact from the “normal” cell population

## Slide 57
1.02
1.79
3.25, 3.57, 3.99
1788

## Slide 59: Stripping a population from a mixture --from left to right
Dynamically identify the left-most peak
Estimate the summary statistics using half of the distribution
Stripping the data from the population
Sequentially stripping

## Slide 60: The left-most population

## Slide 61
3.25, 3.57, 3.99
The artifact

## Slide 62
3.33
2.00

## Slide 64
Notes: Figure 3 Kernel density smoothed density plots on D.I. values

## Slide 65
1.02
1.79
3.25, 3.57, 3.99
1788
3.33
2.00
Notes: Figure 4 Data cleaning results from ExGCRn procedure

## Slide 66
Need roc curve comparison
May prediction precision
Etc.